## Overall
NEW YORK STATE ELECTRIC AND GAS CORPORATION
DERIVATION OF SYSTEMWIDE MARGINAL COSTS
|  |  | Upstream |  | Distribution
|  |  | [A] |  | [B]
-1 | Number of projects considered |  | 1 |  | 13
Marginal investment with general plant loading:
-2 | Investment in growth projects ($) |  | 1303632.7919 |  | 91373133.6426
-3 | Investment in growth projects (kW) |  | 112000 |  | 370800
-4 | Investment in growth projects ($/kW) | (2)/(3) | 11.6396 |  | 246.4216
-5 | Typical reserve margin (%)1 |  | 29.56% |  | 29.56%
-6 | Investment in growth projects after reserve margin ($/kW) | (4)*[1+(5)] | 15.0801 |  | 319.261
-7 | Portion of the system that is growing (%) |  | 43.72% |  | 43.72%
-8 | Marginal investment ($/kW) | (6)*(7) | 6.5931 |  | 139.5822
-9 | General plant loading (%)2 |  | 21.09% |  | 21.09%
-10 | Marginal investment with general plant loading ($/kW) | (8)*[1+(9)] | 7.9836 |  | 169.0201
Annual cost before O&M and working capital:
-11 | Annual economic carrying charge related to capital investment (%)3 |  | 10.23% |  | 10.23%
-12 | A&G loading (plant-related) (%)4 |  | 0.03201% |  | 0.03201%
-13 | Total annual carrying charge (%) | (11)+(12) | 10.26% |  | 10.26%
-14 | Annual cost before O&M and working capital ($/kW-year) | (10)*(13) | 0.81888 |  | 17.3366
Annual O&M charge:
-15 | O&M expenses before spreading ($/kW-year)5 |  | 1.0633 |  | 0.94973
-16 | O&M expenses after spreading ($/kW-year) | (7)*(15) | 0.46487 |  | 0.41523
-17 | With A&G loading (non-plant-related) ($/kW-year)6 | (16)*2.02% | 0.0093891 | 0 | 0.0083863
-18 | Annual O&M charge ($/kW-year) | (16)+(17) | 0.47426 |  | 0.42361
Annual working capital charge:
-19 | Material and supplies ($/kW-year)7 | (10)*0.14% | 0.011083 | 0 | 0.23465
-20 | Prepayments ($/kW-year)8 | (10)*1.03% | 0.081954 | 0 | 1.735
-21 | Cash working capital allowance ($/kW-year)9 | (18)*12.50% | 0.059283 | 0 | 0.052951
-22 | Total working capital ($/kW-year) | (19)+(20)+(21) | 0.15232 |  | 2.0226
-23 | Annual working capital charge ($/kW-year)10 | (22)*8.34% | 0.012704 | 0 | 0.1687
-24 | Total annual cost before losses ($/kW-year) | (14)+(18)+(23) | 1.3058 |  | 17.9289
-25 | Loss factor11 |  | 1.1052 |  | 1.0819
-26 | Total annual cost ($/kW-year) | (24)*(25) | 1.4433 |  | 19.3965
Notes:
1 | 2013 median reserve margin (relative to summer normal rated capacity) of distribution substations with projected load
growth-related investments in years 2014-2018.
2 | Cumulative additions to general plant and electric share of common plant were regressed on Cumulative Additions to
Plant Less General and Common Plant. A dummy shift variable was used to account for large increases in general plant.
The coefficient of the explanatory variable is the loader.
3 | Reflects the first-year annual economic carrying charge related to incremental investments, incorporating the most
recent capital structure and WACC, including changes resulting from the 2017 Tax Act.
4 | Reflects the ratio of property insurance premiums to property insured.
5 | Relies principally on FERC Form 1 data to compare total distribution station O&M expenses to upstream and
distribution non-coincident peak load, adjusted by the labor and materials index.
6 | Relies principally on FERC Form 1 data to determine the ratio of social security and unemployment taxes to O&M less
fuel, purchased power and transmission by others.
7 | Relies principally on FERC Form 1 and PSC data to determine the ratio of materials and supplies relative to total
distribution plant.
8 | Relies principally on FERC Form 1 data to determine the ratio of electric distribution share of prepayments relative to
electric distribution plant.
9 | Per FERC approach of allowing 1/8 of O&M as a cash working capital allowance.
10 | Multiplies the total working capital by the revenue requirement for working capital factor, as derived from the
company's capital structure, cost of capital, and marginal tax rate.
11 | Accounts for demand losses occurring between the point at which the marginal costs are measured and the location of
the distributed generation on the system.

## LSRV + DRV
NEW YORK STATE ELECTRIC AND GAS CORPORATION
DERIVATION OF MARGINAL COSTS
LOCATIONAL MARGINAL COST OF SERVICE FOR LSRV AND DRV AREAS
|  |  | Upstream |  | Dist. DRV |  | Distribution LSRV
[15 empty] | Orchard |  | Sacket
[7 empty] | Bulkhead |  | Crafts1 |  | Hilldale1 |  | Marcellus |  | Park |  | Lake |  | Sloan |  | Stillwater
|  |  | [A] |  | [B] |  | [C] |  | [D] |  | [E] |  | [F] |  | [G] |  | [H] |  | [I] |  | [J]
-1 | Number of projects considered2 |  | 1 |  | 5 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
Marginal investment with general plant loading:
-2 | Investment in growth projects ($) |  | 1303632.7919 |  | 47615030.8868 |  | 2742282.8179 |  | 3500480.2138 |  | 7323835.8234 |  | 1890130.697 |  | 6983467.3391 |  | 7478989.3675 |  | 7119115.8479 |  | 6719800.6492
-3 | Investment in growth projects (kW) |  | 112000 |  | 160800 |  | 22400 |  | 44800 |  | 22400 |  | 14000 |  | 22400 |  | 14000 |  | 56000 |  | 14000
-4 | Investment in growth projects ($/kW) | (2)/(3) | 11.6396 |  | 296.1134 |  | 122.4233 |  | 78.1357 |  | 326.957 |  | 135.0093 |  | 311.7619 |  | 534.2135 |  | 127.1271 |  | 479.9858
-5 | Typical reserve margin (%)3 |  | 29.56% |  | 29.56% |  | 29.56% |  | 29.56% |  | 29.56% |  | 29.56% |  | 29.56% |  | 29.56% |  | 29.56% |  | 29.56%
-6 | Investment in growth projects after reserve margin ($/kW) | (4)*[1+(5)] | 15.0801 |  | 383.6411 |  | 158.6103 |  | 101.2317 |  | 423.6017 |  | 174.9165 |  | 403.9152 |  | 692.1209 |  | 164.7044 |  | 621.864
-7 | Portion of the system that is growing (%)4 |  | 43.72% |  | 25.2% |  | 100% |  | 100% |  | 100% |  | 100% |  | 100% |  | 100% |  | 100% |  | 100%
-8 | Marginal investment ($/kW) | (6)*(7) | 6.5931 |  | 96.6743 |  | 158.6103 |  | 101.2317 |  | 423.6017 |  | 174.9165 |  | 403.9152 |  | 692.1209 |  | 164.7044 |  | 621.864
-9 | General plant loading (%)5 |  | 21.09% |  | 21.09% |  | 21.09% |  | 21.09% |  | 21.09% |  | 21.09% |  | 21.09% |  | 21.09% |  | 21.09% |  | 21.09%
-10 | Marginal investment with general plant loading ($/kW) | (8)*[1+(9)] | 7.9836 |  | 117.0629 |  | 192.0612 |  | 122.5815 |  | 512.9393 |  | 211.8064 |  | 489.1009 |  | 838.0892 |  | 199.4405 |  | 753.0152
Annual cost before O&M and working capital:
-11 | Annual economic carrying charge related to capital investment (%)6 |  | 10.23% |  | 10.23% |  | 10.23% |  | 10.23% |  | 10.23% |  | 10.23% |  | 10.23% |  | 10.23% |  | 10.23% |  | 10.23%
-12 | A&G loading (plant-related) (%)7 |  | 0.03201% |  | 0.03201% |  | 0.03201% |  | 0.03201% |  | 0.03201% |  | 0.03201% |  | 0.03201% |  | 0.03201% |  | 0.03201% |  | 0.03201%
-13 | Total annual carrying charge (%) | (11)+(12) | 10.26% |  | 10.26% |  | 10.26% |  | 10.26% |  | 10.26% |  | 10.26% |  | 10.26% |  | 10.26% |  | 10.26% |  | 10.26%
-14 | Annual cost before O&M and working capital ($/kW-year) | (10)*(13) | 0.81888 |  | 12.0073 |  | 19.6999 |  | 12.5733 |  | 52.6128 |  | 21.7252 |  | 50.1676 |  | 85.9638 |  | 20.4568 |  | 77.2376
Annual O&M charge:
-15 | O&M expenses before spreading ($/kW-year)8 |  | 1.0633 |  | 0.94973 |  | 0.94973 |  | 0.94973 |  | 0.94973 |  | 0.94973 |  | 0.94973 |  | 0.94973 |  | 0.94973 |  | 0.94973
-16 | O&M expenses after spreading ($/kW-year) | (7)*(15) | 0.46487 |  | 0.23932 |  | 0.94973 |  | 0.94973 |  | 0.94973 |  | 0.94973 |  | 0.94973 |  | 0.94973 |  | 0.94973 |  | 0.94973
-17 | With A&G loading (non-plant-related) ($/kW-year)9 | (16)*2.02% | 0.0093891 | 0 | 0.0048336 | 0 | 0.019182 | 0 | 0.019182 | 0 | 0.019182 | 0 | 0.019182 | 0 | 0.019182 | 0 | 0.019182 | 0 | 0.019182 | 0 | 0.019182
-18 | Annual O&M charge ($/kW-year) | (16)+(17) | 0.47426 |  | 0.24416 |  | 0.96891 |  | 0.96891 |  | 0.96891 |  | 0.96891 |  | 0.96891 |  | 0.96891 |  | 0.96891 |  | 0.96891
Annual working capital charge:
-19 | Material and supplies ($/kW-year)10 | (10)*0.14% | 0.011083 | 0 | 0.16252 | 0 | 0.26664 | 0 | 0.17018 | 0 | 0.71211 | 0 | 0.29405 | 0 | 0.67901 | 0 | 1.1635 | 0 | 0.27688 | 0 | 1.0454
-20 | Prepayments ($/kW-year)11 | (10)*1.03% | 0.081954 | 0 | 1.2017 | 0 | 1.9716 | 0 | 1.2583 | 0 | 5.2655 | 0 | 2.1743 | 0 | 5.0208 | 0 | 8.6033 | 0 | 2.0473 | 0 | 7.7299
-21 | Cash working capital allowance ($/kW-year)12 | (18)*12.50% | 0.059283 | 0 | 0.03052 | 0 | 0.12111 | 0 | 0.12111 | 0 | 0.12111 | 0 | 0.12111 | 0 | 0.12111 | 0 | 0.12111 | 0 | 0.12111 | 0 | 0.12111
-22 | Total working capital ($/kW-year) | (19)+(20)+(21) | 0.15232 |  | 1.3947 |  | 2.3593 |  | 1.5496 |  | 6.0987 |  | 2.5894 |  | 5.8209 |  | 9.8879 |  | 2.4453 |  | 8.8965
-23 | Annual working capital charge ($/kW-year)13 | (22)*8.34% | 0.012704 | 0 | 0.11633 | 0 | 0.19678 | 0 | 0.12925 | 0 | 0.50867 | 0 | 0.21597 | 0 | 0.4855 | 0 | 0.82471 | 0 | 0.20395 | 0 | 0.74202
-24 | Total annual cost before losses ($/kW-year) | (14)+(18)+(23) | 1.3058 |  | 12.3678 |  | 20.8656 |  | 13.6715 |  | 54.0903 |  | 22.9101 |  | 51.622 |  | 87.7574 |  | 21.6297 |  | 78.9486
-25 | Loss factor14 |  | 1.1052 |  | 1.0819 |  | 1.0819 |  | 1.0819 |  | 1.0819 |  | 1.0819 |  | 1.0819 |  | 1.0819 |  | 1.0819 |  | 1.0819
-26 | Total annual cost ($/kW-year) | (24)*(25) | 1.4433 |  | 13.3802 |  | 22.5736 |  | 14.7906 |  | 58.5181 |  | 24.7855 |  | 55.8477 |  | 94.941 |  | 23.4003 |  | 85.4111
Notes:
1 | For two projects, Crafts and Hilldale, the companies provided NERA with information beyond a five-year period due to a timing change on those projects. We have assessed the full marginal costs of those projects using a six-year budget.
2 | We initially identified one LSRV zone project—with capital spending on growth capacity associated with it—that has subsequently shifted to DRV classification. The reclassification to DRV occurred because the resulting total annual cost
(Line 26) was less than the respective DRV total annual cost during the first round of calculations. The reclassified zone project was Old Fall substation - Install 2nd LTC Transformer (Distribution).
3 | 2013 median reserve margin (relative to summer normal rated capacity) of distribution substations with projected load growth-related investments in years 2014-2018.
4 | All LSRV areas are considered to be growing.
5 | Cumulative additions to general plant and electric share of common plant were regressed on Cumulative Additions to Plant Less General and Common Plant. A dummy shift variable was used to account for large increases in general plant.
The coefficient of the explanatory variable is the loader.
6 | Reflects the first-year annual economic carrying charge related to incremental investments, incorporating the most recent capital structure and WACC, including changes resulting from the 2017 Tax Act.
7 | Reflects the ratio of property insurance premiums to property insured.
8 | Relies principally on FERC Form 1 data to compare total distribution station O&M expenses to upstream and distribution non-coincident peak load, adjusted by the labor and materials index.
9 | Relies principally on FERC Form 1 data to determine the ratio of social security and unemployment taxes to O&M less fuel, purchased power and transmission by others.
10 | Relies principally on FERC Form 1 and PSC data to determine the ratio of materials and supplies relative to total distribution plant.
11 | Relies principally on FERC Form 1 data to determine the ratio of electric distribution share of prepayments relative to electric distribution plant.
12 | Per FERC approach of allowing 1/8 of O&M as a cash working capital allowance.
13 | Multiplies the total working capital by the revenue requirement for working capital factor, as derived from the company's capital structure, cost of capital, and marginal tax rate.
14 | Accounts for demand losses occurring between the point at which the marginal costs are measured and the location of the distributed generation on the system.